## Protocol
Dharmacon™ lentiviral sgRNA pooled CRISPR screening library Laboratory protocols and calculation tracking worksheet
This laboratory protocols and calculation tracking worksheet is provided as a benchtop guide for using these products. We strongly recommend that you thoroughly read through the Technical Manual before using this guide. The steps in this lab protocol and calculation tracking worksheet are numbered and lettered to correspond to the relevant sections in the Technical Manual.
[7 empty] | INPUT your values into yellow boxes | [25 empty] | OUTPUT values are displayed in light grey boxes
4 Required materials for lentiviral sgRNA pooled library screening
Determine materials required
5 Assay development and optimization
A. Selection of the optimal promoter for Cas9 expression
Select the promoter which is most active in your cells for optimal levels of Cas9 expression. Make note of this selection.
B. Optimization of lentiviral transduction
Transduction conditions should be determined for each cell line and screen. Input those parameters here:
|  |  | Transduction medium: | [18 empty] | % FBS (0.5-2% recommended)
|  |  | Transduction duration: | [18 empty] | hours (4-24 hours recommended)
|  |  | Transduction medium additives: | [18 empty] | µg/mL transduction enhancer such as LentiBOOST or Polybrene
|  |  | Cell density at transduction: | [18 empty] | cells/mm2
C. Determination of functional titer
|  | Dharmacon™ Lentiviral sgRNA Pooled Library titer as provided in data file (C of A), e.g., 5e7: | [43 empty] | TU/mL
|  | GFP Delivery Optimization Control titer as provided in Certificate of Analysis (C of A), e.g., 2e7: | [43 empty] | TU/mL
Determine the lentiviral titer in your cell line of choice using the GFP Delivery Optimization Control Particles in a functional titration protocol (see Technical Manual for further information).
[5 empty] | Functional titer of Deliver Optimization control in your cell line: | [32 empty] | TU/mL functional titer
Relative transduction efficiency of your cell line:
[5 empty] | Functional titer of GFP Delivery Optimization Control in your cell line (TU/mL) | [15 empty] | ÷ |  | Titer of GFP Delivery Optimization Control particles reported on the C of A (TU/mL) | [17 empty] | = | Relative transduction efficiency of your cell line
[10 empty] | TU/mL functional ÷ | [13 empty] | TU/mL = | [10 empty] | relative transduction efficiency of your cells
Functional titer in your cell line:
[5 empty] | Relative transduction efficiency of your cell line | [12 empty] | × |  | Titer of the lentiviral sgRNA pooled library reported on the C of A (TU/mL) | [18 empty] | = | Relative functional titer of the sgRNA pooled library in your cell line (TU/mL)
[9 empty] | relative transduction efficiency × | [18 empty] | TU/mL = | [10 empty] | TU/mL relative functional titer of library in your cells
D. Optimization of blasticidin and puromycin selection
Generate an antibiotic kill curve to determine the optimal concentration of each antibiotic and the minimum number of days under selection required to kill 100% of non-transduced cells.
For many mammalian cells, the blasticidin concentration range is 2-15 µg/mL in 5-15 days of selection; for puromycin it is 0.5-10 µg/mL in 3-6 days.
Blasticidin concentration:
Duration of antibiotic selection:
|  |  | Puromycin concentration: | [18 empty] | µg/mL puromycin
|  |  |  | Duration of antibiotic selection: | [17 empty] | days
E. Determination of assay-specific screening conditions
Assay-specific conditions, such as application of selective pressure and phenotypic selection, should be determined and optimized before beginning the screen. Wherever possible, optimize your assay(s) using a positive control sgRNA against a known gene target.
F. Selection of average fold representation and number of biological replicates
Critical parameters to decide upon include average sgRNA fold representation and the number of biological replicates. The Technical Manual provides details on how to determine these factors.
|  |  | Average sgRNA fold representation during transduction: | [30 empty] | fold representation ( at least 200-fold recommended)
|  |  | Number of biological replicates: | [18 empty] | replicates (> 1 recommended)
|  |  | Number of sgRNAs per pooled library: | [22 empty] | sgRNAs
G. Calculation of number of cells needed for transduction
Desired number of cells with lentiviral integrants:
|  |  | Number of lentiviral sgRNAs in the pool | [11 empty] | × |  | Desired fold representation | [12 empty] | = |  | Desired number of cells with lentiviral sgRNA integrations
[8 empty] | sgRNAs × | [10 empty] | fold representation = | [15 empty] | cells with lentiviral integrations
|  |  | Desired MOI: | [10 empty] | (to ensure single integration events, MOI should always be < 1; 0.3 is recommended)
Number of cells required at the time of transduction :
|  |  | Desired number of cells with lentiviral sgRNA integrations | [11 empty] | ÷ |  | Proportion of cells with lentiviral sgRNA integrations | [12 empty] | = |  | Number of cells required at the time of transduction
[8 empty] | cells with lentiviral integrations ÷ | [12 empty] | 0 |  |  | proportion of cells with integrations = | [18 empty] | cells required at transduction
Number of plates required per sample:
|  |  | Number of cells required at the time of transduction | [11 empty] | ÷ |  | Cell density at transduction | [6 empty] | ÷ |  | Size of plate (mm2) | [5 empty] | = |  | Number of plates required per sample
[8 empty] | cells required at transduction ÷ | [17 empty] | cells/mm2 ÷ | [9 empty] | mm2 per plate = | [7 empty] | plates per sample
Number of plates required:
|  |  | Number of plates per sample | [14 empty] | × |  | Number of biological replicates | [13 empty] | = |  | Number of plates required
[6 empty] | plates required per sample × | [15 empty] | biological replicates | [8 empty] | = | [5 empty] | plates required
H. Calculation of volume of lentiviral particles needed for transduction
Transducing units of lentiviral particles:
|  |  | Desired MOI | [5 empty] | × |  | Number of cells required at the time of transduction | [22 empty] | = |  | Required number of lentiviral particles (TU)
[6 empty] | MOI × | [8 empty] | cells required at transduction = | [21 empty] | TU (transducing units)
Volume of lentiviral particles per sample:
|  |  | Required number of lentiviral particles (TU) | [12 empty] | ÷ |  | Functional titer in your cell line (TU/mL) | [16 empty] | = |  | Volume of lentiviral particles per biological replicate (mL)
[9 empty] | TU ÷ | [8 empty] | TU/mL functional titer = | [15 empty] | mL lentiviral particles
Total volume of lentiviral particles:
|  |  | Volume of lentiviral particles per biological replicate (mL) | [17 empty] | × |  | Number of biological replicates | [13 empty] | = |  | Total volume of lentiviral particles
[7 empty] | mL lentiviral particles × | [13 empty] | biological replicates = | [14 empty] | mL lentiviral particles
6. Primary screen
A. Cell transduction and selection screen
i. Transduction of cells with Edit-R Lentiviral Cas9 Nuclease particles (not applicable to All-in-one format libraries)
Day 1
|  | 1. |  |  | Seed cells in normal Growth Medium. Incubate overnight.
Day 2
|  | 2. |  |  | Remove the Growth Medium and add medium with | [26 empty] | % FBS, | [6 empty] | µg/mL transduction enhancer
of Edit-R Lentiviral Cas9 Nuclease Expression particles so that the cells are just covered.
|  | 3. |  |  |  |  | hours post-transduction, add additional Growth Medium to your cells such that the cells can be incubated for 48-72 hours.
Days 4-14
|  | 4. |  |  | At 48-72 hours post-transduction begin blasticidin selection to remove non-transduced cells. Monitor the cells daily.
|  | 5. |  |  | Every 2-3 days, replace with fresh Selection Medium containing blasticidin. Passage the cells as needed.
Once a pure population of transduced cells has been obtained, test for gene editing with a positive sgRNA control and expand the cells for transduction with the lentiviral sgRNA pooled library.
ii. Transduction of Cas9-expressing cells with Dharmacon™ lentiviral sgRNA pooled screening library or wildtype cells with All-in-one format libraries
Day 1
|  | 1. |  |  | Seed cells in normal Growth Medium. Incubate overnight.
Day 2
|  | 2. |  |  | Remove the Growth Medium and add medium with | [26 empty] | % FBS, | [6 empty] | µg/mL transduction enhancer
of Dharmacon™ Lentiviral sgRNA Pooled Library particles so that the cells are just covered.
|  | 3. |  |  |  |  | hours post-transduction, add additional Growth Medium to your cells such that the cells can be incubated for 48-72 hours.
Days 4-18
|  | 4. |  |  | At 48-72 hours post-transduction begin puromycin selection to remove non-transduced cells. Monitor the cells daily.
|  | 5. |  |  | Every 2-3 days, replace with fresh Selection Medium containing puromycin. Passage the cells as needed.
Once a pure population of puromycin-resistant cells has been obtained, begin selection screening.
Split cells into at least two populations: one as a reference and another for application of selective pressure and phenotypic selection.
Maintain your desired sgRNA fold representation in the library at each cell passage.
B. Genomic DNA isolation
|  | 1. |  |  | Collect cells for gDNA isolation by trypsinizing and counting.
Use at least the number of cells that corresponds to the desired number of lentiviral integrants.
Follow manufacturer's protocol for gDNA isolation.
Combine gDNA isolations after elution, as needed.
|  | 2. |  |  | Assess DNA purity and quantify the isolated gDNA by spectrophotometry.
C. PCR amplification of sgRNA from genomic DNA
i. Number of PCR reactions
Amount of gDNA required to maintain fold representation (calculate for each lentiviral pooled library):
|  |  | Number of cells with lentiviral integrations | [8 empty] | × | Nanograms per genome | [7 empty] | = |  | Mass of gDNA required to maintain representation of each sgRNA (ng) | [18 empty] | * assumes human diploid cell (6.6e-3) For mouse diploid cell use 5.8e-3 For rat diploid cell use 6.1e-3
[9 empty] | cells with lentiviral integrations × | [16 empty] | ng/genome* = | [11 empty] | ng gDNA
Number of PCR reactions per sample :
|  |  | Mass of gDNA required to maintain representation of each sgRNA (ng) | [13 empty] | ÷ |  | ng per reaction | [7 empty] | = |  | Number of PCR reactions required to maintain representation of each sgRNA (ng)
[7 empty] | ng gDNA ÷ 825 ng/reaction = | [16 empty] | PCR reactions per sample
Total number of PCR reactions:
|  |  | Number of PCR reactions per sample | [14 empty] | × |  | Number of samples | [12 empty] | = |  | Total number of PCR reactions
[7 empty] | PCRs per sample × | [15 empty] | samples per pool = | [14 empty] | PCR reactions per pool
Units of Phusion HotStart II DNA Polymerase required :
|  |  | Total number of PCR reactions | [14 empty] | × |  | 4 units of polymerase per PCR | [16 empty] | = |  | Total units of polymerase
[7 empty] | PCR reactions per pool × 4 units/PCR = | [23 empty] | units Phusion HSII
ii. PCR from genomic DNA
|  |  | 1. |  | PCR components for sgRNA amplification (calculate Master Mix for each sample)
[5 empty] | Component | [19 empty] | Volume per reaction (µL) | [6 empty] | Final Concentration | [7 empty] | Master Mix (µL) |  |  |  |  | # of reactions per sample (rounded up to nearest whole number)
[5 empty] | 5x Phusion HF Buffer | [19 empty] | 10 | [6 empty] | 1×
[5 empty] | 10 mM dNTPs | [19 empty] | 1 | [6 empty] | 200 µM each
[5 empty] | NGS Hit Identification FWD Primers (50 μM) | [19 empty] | 0.5 | [6 empty] | 0.5 µM
[5 empty] | NGS Hit Identification REV Primers (50 μM) | [19 empty] | 0.5 | [6 empty] | 0.5 µM
[5 empty] | gDNA (825 ng) + PCR grade H2O | [19 empty] | 36 | [6 empty] | 16.5 ng/µL
[5 empty] | Phusion Hot Start II DNA polymerase (2 U/µL) | [19 empty] | 2 | [6 empty] | 0.08 U/µL
[5 empty] | Total | [19 empty] | 50 µL
|  |  | 2. |  | PCR cycling conditions
[5 empty] | Cycles |  |  |  | Temperature | [5 empty] | Time
[5 empty] | 1 |  |  |  | 98 °C | [5 empty] | 3 minutes
[5 empty] | 23 |  |  |  | 98 °C | [5 empty] | 10 seconds
[9 empty] | 60 °C | [5 empty] | 15 seconds
[9 empty] | 72 °C | [5 empty] | 15 seconds
[5 empty] | 1 |  |  |  | 72 °C | [5 empty] | 5 minutes
|  |  | 3. |  | Combine reactions amplifying the same gDNA sample into a single 1.5 mL tube.
Confirm that amplicons of the appropirate size are obtained from each sample by running 10 µL of PCR product on a 2% agarose gel.
The amplicons from the mCMV vector will be 328-337 bp, the amplicons from the hEF1α vector will be 282-291 bp.
|  |  | 4. |  | Purify PCR products.
|  |  | 5. |  | Evaluate purified amplicons using the quality standards recommended by your Illumina platform.
7. Illumina platform sequencing
Follow the manufacturer's instructions for Illumina platform sequencing.
Sequencing reads per sample
|  |  | Number of unique sgRNAs in lentiviral pool | [17 empty] | × |  | Read coverage per sgRNA | [11 empty] | = |  | Output reads required per sample
[8 empty] | sgRNA × 1000 reads/sgRNA = | [23 empty] | output reads required per sample
8. Hit identification and follow up
Bin each index tag.
Trim sequences to 19 base pairs.
Align sequence reads with FASTA files provided with your lentiviral pooled library.
Count the number of alignments for each sequence that correspond to a gene-targeting sgRNA.
Perform differential expression analysis to determine primary hits.

## Mouse and pre-2024 libraries
Dharmacon™ Edit-R™ Mouse Lentiviral sgRNA Pooled Screening Library Laboratory protocols and calculation tracking worksheet
This laboratory protocols and calculation tracking worksheet is provided as a benchtop guide for using this product. We strongly recommend that you thoroughly read through the Technical Manual before using this guide. The steps in this lab protocol and calculation tracking worksheet are numbered and lettered to correspond to the relevant sections in the Technical Manual.
[7 empty] | INPUT your values into light blue boxes | [26 empty] | OUTPUT values are displayed in light grey boxes
4 Required materials for lentiviral sgRNA pooled library screening
Determine materials required
5 Assay development and optimization
A. Selection of the optimal promoter for Cas9 expression
Select the promoter which is most active in your cells for optimal levels of Cas9 expression. Make note of this selection.
B. Optimization of lentiviral transduction
Transduction conditions should be determined for each cell line and screen. Input those parameters here:
|  |  | Transduction medium: | [18 empty] | % FBS (0.5-2% recommended)
|  |  | Transduction duration: | [18 empty] | hours (4-24 hours recommended)
|  |  | Transduction medium additives: | [18 empty] | µg/mL Polybrene (0-10 µg/mL recommended)
|  |  | Cell density at transduction: | [18 empty] | cells/mm2
C. Determination of functional titer
|  | Edit-R Lentiviral sgRNA Pooled Library titer as provided in Certificate of Analysis (C of A), e.g., 5e8: | [45 empty] | TU/mL
|  | Edit-R Lentiviral sgRNA Non-targeting Control titer as provided in Certificate of Analysis (C of A), e.g., 2e7: | [45 empty] | TU/mL
Determine the lentiviral titer in your cell line of choice using the Edit-R Lentiviral sgRNA Non-targeting Control Particles in a functional titration protocol such as limiting dilution with crystal violet staining or genomic qPCR (see Technical Manual for further information).
[5 empty] | Functional titer of non-targeting control in your cell line: | [33 empty] | TU/mL functional titer
Relative transduction efficiency of your cell line:
[5 empty] | Functional titer of Edit-R Lentiviral sgRNA Non-targeting Control in your cell line (TU/mL) | [15 empty] | ÷ |  | Titer of Edit-R Lentiviral sgRNA Non-targeting Control particles stock reported on the C of A (TU/mL) | [18 empty] | = | Relative transduction efficiency of your cell line
[10 empty] | TU/mL functional ÷ | [14 empty] | TU/mL = | [10 empty] | relative transduction efficiency of your cells
Functional titer in your cell line (calculate for each lentiviral pooled library):
[5 empty] | Relative transduction efficiency of your cell line | [12 empty] | × |  | Titer of the lentiviral sgRNA pooled library reported on the C of A (TU/mL) | [19 empty] | = | Relative functional titer of the sgRNA pooled library in your cell line (TU/mL)
[9 empty] | relative transduction efficiency × | [19 empty] | TU/mL = | [10 empty] | TU/mL relative functional titer of library in your cells
D. Optimization of blasticidin and puromycin selection
Generate an antibiotic kill curve to determine the optimal concentration of each antibiotic and the minimum number of days under selection required to kill 100% of non-transduced cells.
For many mammalian cells, the blasticidin concentration range is 2-15 µg/mL in 5-15 days of selection; for puromycin it is 0.5-10 µg/mL in 3-6 days.
|  |  | Blasticidin concentration: | [18 empty] | µg/mL blasticidin
|  |  |  | Duration of antibiotic selection: | [17 empty] | days
|  |  | Puromycin concentration: | [18 empty] | µg/mL puromycin
|  |  |  | Duration of antibiotic selection: | [17 empty] | days
E. Determination of assay-specific screening conditions
Assay-specific conditions, such as application of selective pressure and phenotypic selection, should be determined and optimized before beginning the screen. Wherever possible, optimize your assay(s) using a positive control sgRNA against a known gene target.
F. Selection of average fold representation and number of biological replicates
Critical parameters to decide upon include average sgRNA fold representation and the number of biological replicates. The Technical Manual provides details on how to determine these factors.
|  |  | Average sgRNA fold representation during transduction: | [31 empty] | fold representation (> 500 recommended)
|  |  | Number of biological replicates: | [18 empty] | replicates (> 1 recommended)
|  |  | Number of sgRNAs per pooled library: | [23 empty] | sgRNAs
G. Calculation of number of cells needed for transduction
Desired number of cells with lentiviral integrants (calculate for each lentiviral pooled library):
|  |  | Number of lentiviral sgRNAs in the pool | [11 empty] | × |  | Desired fold representation | [13 empty] | = |  | Desired number of cells with lentiviral sgRNA integrations
[8 empty] | sgRNAs × | [10 empty] | fold representation = | [16 empty] | cells with lentiviral integrations
|  |  | Desired MOI: | [10 empty] | (to ensure single integration events, MOI should always be < 1; 0.3 is recommended)
Number of cells required at the time of transduction (calculate for each lentiviral pooled library):
|  |  | Desired number of cells with lentiviral sgRNA integrations | [11 empty] | ÷ |  | Proportion of cells with lentiviral sgRNA integrations | [13 empty] | = |  | Number of cells required at the time of transduction
[8 empty] | cells with lentiviral integrations ÷ | [12 empty] | 0 |  |  |  | proportion of cells with integrations = | [19 empty] | cells required at transduction
Number of plates required per sample (calculate for each lentiviral pooled library):
|  |  | Number of cells required at the time of transduction | [11 empty] | ÷ |  | Cell density at transduction | [7 empty] | ÷ |  | Size of plate (mm2) | [5 empty] | = |  | Number of plates required per sample
[8 empty] | cells required at transduction ÷ | [18 empty] | cells/mm2 ÷ | [9 empty] | mm2 per plate = | [8 empty] | plates per sample
Number of plates required per pooled library (calculate for each lentiviral pool):
|  |  | Number of plates required per sample | [14 empty] | × |  | Number of biological replicates | [14 empty] | = |  | Number of plates required per pool
[6 empty] | plates required per sample × | [15 empty] | biological replicates | [9 empty] | = | [5 empty] | plates per pool
H. Calculation of volume of lentiviral particles needed for transduction
Transducing units of lentiviral particles (calculate for each lentiviral pooled library):
|  |  | Desired MOI | [5 empty] | × |  | Number of cells required at the time of transduction | [23 empty] | = |  | Required number of lentiviral particles (TU)
[6 empty] | MOI × | [8 empty] | cells required at transduction = | [22 empty] | TU (transducing units)
Volume of lentiviral particles per sample (calculate for each lentiviral pooled library):
|  |  | Required number of lentiviral particles (TU) | [12 empty] | ÷ |  | Functional titer in your cell line (TU/mL) | [17 empty] | = |  | Volume of lentiviral particles per biological replicate (mL)
[9 empty] | TU ÷ | [8 empty] | TU/mL functional titer = | [16 empty] | mL lentiviral particles
Volume of lentiviral particles per pool (calculate for each lentiviral pooled library):
|  |  | Volume of lentiviral particles per biological replicate (mL) | [17 empty] | × |  | Number of biological replicates | [14 empty] | = |  | Volume of lentiviral particles per pool (mL)
[7 empty] | mL lentiviral particles × | [13 empty] | biological replicates = | [15 empty] | mL lentiviral particles per pool
6. Primary screen
A. Cell transduction and selection screen
i. Transduction of cells with Edit-R Lentiviral Cas9 Nuclease particles
Day 1
|  | 1. |  |  | Seed cells in normal Growth Medium. Incubate overnight.
Day 2
|  | 2. |  |  | Remove the Growth Medium and add medium with | [27 empty] | % FBS, | [6 empty] | µg/mL Polybrene and the appropriate volume
of Edit-R Lentiviral Cas9 Nuclease Expression particles so that the cells are just covered.
|  | 3. |  |  |  |  | hours post-transduction, add additional Growth Medium to your cells such that the cells can be incubated for 48-72 hours.
Days 4-14
|  | 4. |  |  | At 48-72 hours post-transduction begin blasticidin selection to remove non-transduced cells. Monitor the cells daily.
|  | 5. |  |  | Every 2-3 days, replace with fresh Selection Medium containing blasticidin. Passage the cells as needed.
Once a pure population of transduced cells has been obtained, test for gene editing with a positive sgRNA control and expand the cells for transduction with the lentiviral sgRNA pooled library.
ii. Transduction of Cas9-expressing cells with Edit-R Lentiviral sgRNA Pooled Screening Library
Day 1
|  | 1. |  |  | Seed cells in normal Growth Medium. Incubate overnight.
Day 2
|  | 2. |  |  | Remove the Growth Medium and add medium with | [27 empty] | % FBS, | [6 empty] | µg/mL Polybrene and the appropriate volume
of Edit-R Lentiviral sgRNA Pooled Library particles so that the cells are just covered.
|  | 3. |  |  |  |  | hours post-transduction, add additional Growth Medium to your cells such that the cells can be incubated for 48-72 hours.
Days 4-18
|  | 4. |  |  | At 48-72 hours post-transduction begin puromycin selection to remove non-transduced cells. Monitor the cells daily.
|  | 5. |  |  | Every 2-3 days, replace with fresh Selection Medium containing puromycin. Passage the cells as needed.
Once a pure population of puromycin-resistant cells has been obtained, begin selection screening.
Split cells into at least two populations: one as a reference and another for application of selective pressure and phenotypic selection.
Maintain your desired sgRNA fold representation in the library at each cell passage.
B. Genomic DNA isolation
|  | 1. |  |  | Collect cells for gDNA isolation by trypsinizing and counting.
Use at least the number of cells that corresponds to the desired number of lentiviral integrants.
Follow manufacturer's protocol for gDNA isolation.
Combine gDNA isolations after elution, as needed.
|  | 2. |  |  | Assess DNA purity and quantify the isolated gDNA by spectrophotometry.
C. PCR amplification of sgRNA from genomic DNA
i. Number of PCR reactions
Amount of gDNA required to maintain fold representation (calculate for each lentiviral pooled library):
|  |  | Number of cells with lentiviral integrations | [8 empty] | × | Nanograms per genome | [7 empty] | = |  | Mass of gDNA required to maintain representation of each sgRNA (ng) | [19 empty] | * assumes human diploid cell (6.6e-3)
[9 empty] | cells with lentiviral integrations × | [12 empty] | 0.0066 |  |  |  |  | ng/genome* = | [11 empty] | ng gDNA
Number of PCR reactions per sample (calculate for each lentiviral pooled library):
|  |  | Mass of gDNA required to maintain representation of each sgRNA (ng) | [13 empty] | ÷ |  | ng per reaction | [8 empty] | = |  | Number of PCR reactions required to maintain representation of each sgRNA (ng)
[7 empty] | ng gDNA ÷ 825 ng/reaction = | [17 empty] | PCR reactions per sample
Number of PCR reactions per pool (calculate for each lentiviral pooled library):
|  |  | Number of PCR reactions per sample | [14 empty] | × |  | Number of samples per pool | [13 empty] | = |  | Number of PCR reactions per pool
[7 empty] | PCRs per sample × | [15 empty] | samples per pool = | [15 empty] | PCR reactions per pool
Units of Phusion HotStart II DNA Polymerase required per pool (calculate for each lentiviral pooled library):
|  |  | Number of PCR reactions per pool | [14 empty] | × |  | 4 units of polymerase per PCR | [17 empty] | = |  | Units of polymerase per pool
[7 empty] | PCR reactions per pool × 4 units/PCR = | [24 empty] | units Phusion HSII
ii. Multiplexing of high-throughput sequencing samples
Sequencing reads per sample
|  |  | Number of unique sgRNAs in lentiviral pool | [17 empty] | × |  | Read coverage per sgRNA | [12 empty] | = |  | Output reads required per sample
[8 empty] | sgRNA × 1000 reads/sgRNA = | [24 empty] | output reads required per sample
Sample indices per sequencing lane
|  |  | Expected deep sequencing read output | [12 empty] | × |  | 0.7 (number of reads adjustment) | [13 empty] | ÷ |  | Output reads required per sample | [9 empty] | = |  | Number of sample indices per lane
[10 empty] | reads × 0.7 ÷ | [13 empty] | output reads per sample = | [16 empty] | sample indices per lane
iii. PCR from genomic DNA
|  |  | 1. |  | PCR components for sgRNA amplification (calculate Master Mix for each sample)
[5 empty] | Component | [20 empty] | Volume per reaction (µL) | [6 empty] | Final Concentration | [7 empty] | Master Mix (µL) | [5 empty] | # of reactions per sample (rounded up to nearest whole number)
[5 empty] | 5x Phusion HF Buffer | [20 empty] | 10 | [6 empty] | 1×
[5 empty] | 10 mM dNTPs | [20 empty] | 1 | [6 empty] | 200 µM each
[5 empty] | Edit-R Mouse pooled sgRNA Forward PCR Primer (50 μM) | [20 empty] | 0.5 | [6 empty] | 0.5 µM
[5 empty] | Edit-R Mouse pooled sgRNA Reverse Index PCR Primer (50 μM) | [20 empty] | 0.5 | [6 empty] | 0.5 µM
[5 empty] | gDNA (825 ng) + PCR grade H2O | [20 empty] | 36 | [6 empty] | 16.5 ng/µL
[5 empty] | Phusion Hot Start II DNA polymerase (2 U/µL) | [20 empty] | 2 | [6 empty] | 0.08 U/µL
[5 empty] | Total | [20 empty] | 50 µL
|  |  | 2. |  | PCR cycling conditions
[5 empty] | Cycles |  |  |  | Temperature | [5 empty] | Time
[5 empty] | 1 |  |  |  | 98 °C | [5 empty] | 3 minutes
[5 empty] | 23 |  |  |  | 98 °C | [5 empty] | 10 seconds
[9 empty] | 60 °C | [5 empty] | 15 seconds
[9 empty] | 72 °C | [5 empty] | 15 seconds
[5 empty] | 1 |  |  |  | 72 °C | [5 empty] | 5 minutes
|  |  | 3. |  | Combine reactions amplifying the same gDNA sample into a single 1.5 mL tube.
Confirm that a 357-base pair amplicon is obtained from each sample by running 10 µL of PCR product on a 2% agarose gel.
|  |  | 4. |  | Purify PCR products.
|  |  | 5. |  | Evaluate purified amplicons using the quality standards recommended by your Illumina platform.
7. Illumina platform sequencing
Follow the manufacturer's instructions for Illumina platform sequencing.
Load Illumina flow cell with amplicon samples (we recommend 7-10 pM using standard loading volumes).
Obtain at least 19 base single-end reads with the provided Edit-R Pooled sgRNA Read 1 Sequencing Primer.
Perform index read with Edit-R Pooled sgRNA Index Read Sequencing Primer.
8. Hit identification and follow up
Bin each index tag.
Trim sequences to 19 base pairs.
Align sequence reads with FASTA files provided with your lentiviral pooled library.
Count the number of alignments for each sequence that correspond to a gene-targeting sgRNA.
Perform differential expression analysis to determine primary hits.